## Slide 1
CHIME Hypersense Campaign Data Harmonisation and Quality Assessment via Uncertainty Analysis
Mike Werfeli, Daria Larcher, Andy Hueni, Kimberley Mason, Cinzia Panigada, Giulia Tagliabue, Raquel De los Reyes, Jens Nieke, Michael Rast and Marco Celesti
18. May 2024
ICSIS, Nordwijk

## Slide 2: Main objectives
Hypersense CHIME-SBG airborne campaign 2021
Consistent atmospheric processing
Select multi-sensor matchups
Cross-Validation and uncertainty assessment

## Slide 3: Geographical extent
Bavarian Forest National Park | Forest
Camarena | Soils
Demmin | Soil, N Climate
Jolanda | Agriculture, S Climate
Trasimeno | Limnology
Rio Tinto | Minerals
To be reprocessed

## Slide 4: Data set selection (Time matchups)
X

## Slide 5: Image reprocessing
ATCOR
ATCOR
PACO
AROSICS
AROSICS
AROSICS
MSDS

## Slide 6: AROSICS reprojection
Reprojection to:
Sentinel-2 GRI
Pixel shifts after reprojection

## Slide 7: Uncertainty linked to geolocation
Added to field spectroradiometer measurement

## Slide 8: WP 2: Contribution from MetEOC 3 & 4 to CCN3 u(HDRF)
A. Hueni, K. Mason and S. Trim, 2023. Uncertainty Support in the Spectral Information System SPECCHIO. IEEE Journal of Selected Topics in Applied Earth Observations and Remote Sensing 16, 2668-2680.
(A. Hueni et. al. 2023)
: Difference PRISMA BOA (2x2) and SGCP
: Estimated by DLR

## Slide 9: Vicarious Calibration and Validation at SGCP 1

## Slide 10: Data Quality: Measurement Agreement

## Slide 11: Intercomparison exercise
ANG resampled to 30m
  Spline interpolation
Compute virtual reference sensor
Comparison to virtual reference sensor
  Compute differences
  Compute measurement agreements
Notes: Auto-comparison of all matching pixels
Additional analysis:
    Aerosol related problems

## Slide 12: MSDS
Step 1
logical map
Step 2
get spectra of each img
Step 3
get uncertainty of each img
Step 4
compute reference sensor
Step 5
compute difference and ratio maps

## Slide 13: Reference Sensor
Pixel units
Pixel units
Reference sensor image

## Slide 14: ISSI Forum on measurement disparities
Held in June 2024, in Bern, Switzerland
(White-) Paper on how to handle measurement disparities between different space-based EO products
Main findings:
  Estimate a full traceable uncertainty budget for every satellite mission
  If not available, use a common approach to estimate an uncertainty
  Make processing algorithm openly accessible for intercomparison (sources of uncertainty)

## Slide 15: Questions?
Thank you for your attention

## Slide 16: BRDF analysis - non-constant illumination angles

## Slide 17: BRDF analysis - non-constant observation angles
ANG
DESIS
PRISMA

## Slide 18: BRDF analysis – scan angle difference images
ANG
DESIS = 16.8°
difference image
ANG
PRISMA
difference image
Max difference in obs. angle up to 32°

## Slide 19: Backup Slides

## Slide 20: HISUI Information
Jolanda
Trasimeno

## Slide 21: AI’s from MTR
✔︎
Compare data flows between sensors (as part of the report): ANG, DESIS and PRISMA have slightly different processing data flows.
Decide which reference image to use (S2 scenes versus GRI) -> for the time being, we use S2 scenes used by PRISMA team. Bands in GRI are suboptimal (NIR matching works best for our scenes).
UZH: Check unit of JPL uncertainty (% or reflectance?)
UZH: Send draft of report to ESA
Double check 7th NOV as date for progress meeting 2 (RD will be on holidays at the time)
Arrange call with ESA + U of Tokio about HISUI. Then estimate effort on RSL side. -> superseded by todays meeting
MR and MW to liaison on ISSI workshop. -> ISSI workshop submitted and accepted.
✔︎
✔︎
✔︎
✔︎
✔︎